## Sheet1
		details1	details2	details3	quantity	unit price (€)	total* (€)	total** (€)	Opportunity for substantially saving cost by sourcing elsewhere	*if mostly sourced from same supplier in Germany; **if prepared to "shop around" and/or improvise
Essential. Arduino & PCB only needed if modules to be added	Common
	Barrel connector		3A	2,1mm int pin	1	0.47	0.47	0.47		https://www.aliexpress.com/item/10pcs-Breadboard-friendly-2-1mm-DC-Barrel-Jack/32818058518.html?spm=2114.search0104.3.9.u7jJKB&ws_ab_test=searchweb0_0,searchweb201602_2_10152_10065_10151_10068_10193_10194_10308_10304_10137_10060_10302_10155_438_5360015_10154_10056_10055_10054_10059_100031_10099_10103_10102_10101_10052_10053_10142_10107_10050_10051_10084_10083_10080_10082_10081_10177_10110_10111_10112_10113_10114_10180_10182_10184_10078_10079_10073_10186,searchweb201603_13,ppcSwitch_3&btsid=0ff88f26-13a5-4e65-a3af-78f153476043&algo_expid=9cdf62f7-74ab-4eb6-b17d-ac915ad84171-1&algo_pvid=9cdf62f7-74ab-4eb6-b17d-ac915ad84171
	Power supply	12V	5A	2.1mm pin	1	18.65	18.65	0	can be sourced cheaper from overseas, or improvised from an old Laptop adapter (check power rating!)	https://www.aliexpress.com/item/1-PC-12-v5a-ac-100-v-to-100-v-converter-dc-12-v-adapter-5/32804289949.html?spm=2114.search0104.3.39.FDhG2y&ws_ab_test=searchweb0_0,searchweb201602_2_10152_10065_10151_10068_10193_10194_10308_10304_10137_10060_10302_10155_438_10154_10056_10055_10054_10059_100031_10099_10103_10102_10101_10052_10053_10142_10107_10050_10051_10084_10083_10080_10082_10081_10177_10110_10111_10112_10113_10114_10180_10182_10184_10078_10079_10073_10186_5360020,searchweb201603_13,ppcSwitch_3&btsid=915271f6-76e5-47ea-bef7-d7f2675b3398&algo_expid=2d7be573-076a-4e80-a0eb-85ac312a95c7-5&algo_pvid=2d7be573-076a-4e80-a0eb-85ac312a95c7
	Custom PCB	link points to main repository page. User should go to PCB/flypi_pcb_kicad/gerber to get the necessary files for production			1	5	5	5	Estimate - prices vary widely and drop substantially when ordering in bulk	https://github.com/amchagas/Flypi
	3D printed frame	link points to main repository page. User should go to 3D_print_files for the necessary production files			1	5	5	5	Estimate, based on material cost. If a 3D print service is required (e.g. as no 3D printer is available), we estimate a minimum charge of 40 Euros.	https://github.com/amchagas/Flypi
	Flat ribbon cable	10pin	3m colored	AWG-28	1	1.99	1.99	0	This is "just" a cable supply - can be sourced from anywhere, e.g. from an old computer or printer
	Screws	M3	Head cap	12mm long	2	0.05	0.1	0.08		https://www.aliexpress.com/item/50Pcs-M3-Alloy-Steel-Screws-Hex-Socket-Round-Head-Cap-Black-Screw-Furniture-Fastener-Bolt-M3/32773255624.html?spm=2114.search0104.3.1.SUMM5S&ws_ab_test=searchweb0_0,searchweb201602_2_10152_10065_10151_10068_10193_10194_10308_10304_10137_10060_10302_10155_438_10154_10056_10055_10054_10059_100031_10099_10103_10102_10101_10052_10053_10142_10107_10050_10051_10084_10083_10080_10082_10081_10177_10110_10111_10112_10113_10114_10180_10310_10182_10184_10078_10079_10073_10186_5360020,searchweb201603_1,ppcSwitch_3&btsid=2986c3e8-1833-41a2-b304-87bccf6c5f26&algo_expid=775e0cca-170a-4d0f-9206-a2a4fbf0a821-0&algo_pvid=775e0cca-170a-4d0f-9206-a2a4fbf0a821

	Raspberry pi and cables
	Capacitor	16V	680µF	Electrolitic	1	0.43	0.43	0.08		https://www.aliexpress.com/item/20-pcs-Electrolytic-Capacitors-High-Frequency-16V-680UF/1814798466.html?spm=2114.search0104.3.1.Mcotza&ws_ab_test=searchweb0_0,searchweb201602_2_10152_10065_10151_10068_10193_10194_10304_10137_10060_10302_10155_438_10154_10056_10055_10054_10059_100031_10099_10103_10102_10101_10052_10053_10142_10107_10050_10051_10084_10083_10080_10082_10081_10177_10110_10111_10112_10113_10114_10180_10182_10184_10078_10079_10073_10186_5360020_10189,searchweb201603_13,ppcSwitch_3&btsid=d2fa7b05-9ad0-4204-aab3-68a60ea91af0&algo_expid=f0ad7e2c-c537-4526-9afc-85897d198fe8-0&algo_pvid=f0ad7e2c-c537-4526-9afc-85897d198fe8
	Capacitor	16V	220µF	Electrolitic	1	0.08	0.08	0.08		https://www.aliexpress.com/item/10-pcs-Electrolytic-Capacitors-High-Frequency-16V-2200UF-10X25MM/1821586609.html?spm=2114.search0104.3.17.zNurir&ws_ab_test=searchweb0_0,searchweb201602_2_10152_10065_10151_10068_10193_10194_10308_10304_10137_10060_10302_10155_5360017_438_10154_10056_10055_10054_10059_100031_10099_10103_10102_10101_10052_10053_10142_10107_10050_10051_10084_10083_10080_10082_10081_10177_10110_10111_10112_10113_10114_10180_10182_10184_10078_10079_10073_10186-10050,searchweb201603_13,ppcSwitch_3&btsid=ef30f953-f129-455a-b027-2d39005948a4&algo_expid=530a2688-3033-4bf1-a71e-0e7a811d6663-2&algo_pvid=530a2688-3033-4bf1-a71e-0e7a811d6663
	Diode	20-60V	3A	Schottky	1	0.18	0.18	0.03		https://www.aliexpress.com/item/10PCS-Lot-New-Original-1N5822-IN5822-Schottky-Diode-3A-40V-DIP-Wholesale-Electronic/32493170677.html?spm=2114.search0104.3.9.XafF9A&ws_ab_test=searchweb0_0,searchweb201602_2_10152_10065_10151_10068_10193_10194_10308_10304_10137_10060_10302_10155_438_5360015_10154_10056_10055_10054_10059_100031_10099_10103_10102_10101_10052_10053_10142_10107_10050_10051_10084_10083_10080_10082_10081_10177_10110_10111_10112_10113_10114_10180_10182_10184_10078_10079_10073_10186,searchweb201603_13,ppcSwitch_3&btsid=70f35943-6368-40d9-8d52-5beeafe4edf4&algo_expid=ecca2923-c3b4-4391-9262-38f33f5602b8-1&algo_pvid=ecca2923-c3b4-4391-9262-38f33f5602b8
	Inductor	3.6A	33µH	Ferrit	1	0.6	0.6	0.29		https://www.aliexpress.com/item/Inductor-8-10mm-33UH-frequency-ferrite-330K-0-8Amp-10-PVC-Radial-Leaded-Power-inductor-New/32760358088.html?spm=2114.search0104.3.15.cCagMV&ws_ab_test=searchweb0_0,searchweb201602_2_10152_10065_10151_10068_10193_10194_10308_10304_10137_10060_10302_10155_5360017_438_10154_10056_10055_10054_10059_100031_10099_10103_10102_10101_10052_10053_10142_10107_10050_10051_10084_10083_10080_10082_10081_10177_10110_10111_10112_10113_10114_10180_10182_10184_10078_10079_10073_10186,searchweb201603_13,ppcSwitch_3&btsid=212660ae-abf8-4d73-b855-dc0f29a54bf4&algo_expid=9923e584-e0f5-44ba-9688-3a16f21a9cf1-2&algo_pvid=9923e584-e0f5-44ba-9688-3a16f21a9cf1
	Screw terminal	2pin	6A	2.54mm	1	0.24	0.24	0.22		https://www.aliexpress.com/item/10pcs-2-Poles-2-Pin-2-54mm-PCB-Universal-Screw-Terminal-Block-Connector/32774484674.html?spm=2114.search0104.3.17.Oig9Vl&ws_ab_test=searchweb0_0,searchweb201602_2_10152_10065_10151_10068_10193_10194_10304_10137_10060_10302_10155_438_10154_10056_10055_10054_10059_100031_10099_10103_10102_10101_10052_10053_10142_10107_10050_10051_10084_10083_10080_10082_10081_10177_10110_10111_10112_10113_10114_10180_10182_10184_10078_10079_10073_10186_5360020_10189-10050,searchweb201603_13,ppcSwitch_3&btsid=46310505-2d51-489e-bb67-ede615e06320&algo_expid=7969ed1b-026b-4477-860e-e33562127ce1-2&algo_pvid=7969ed1b-026b-4477-860e-e33562127ce1
	Switching volt reg (LM2596)	45V	3A	TO-220-5	1	3.8	3.8	0.23	Can be sourced cheaper from overseas	https://www.aliexpress.com/item/LM2596T-5-0-LM2596-TO220-5pcs-lot/32457405052.html?spm=2114.search0104.3.59.T30gbc&ws_ab_test=searchweb0_0,searchweb201602_2_10152_10065_10151_10068_10193_10194_10308_10304_10137_10060_10302_10155_438_10154_10056_10055_10054_10059_100031_10099_10103_10102_10101_10052_10053_10142_10107_10050_10051_10084_10083_10080_10082_10081_10177_10110_10111_10112_10113_10114_10180_10182_10184_10078_10079_10073_10186_5360020-10177,searchweb201603_13,ppcSwitch_3&btsid=6ceca4e0-6d4e-495b-84ed-01c76a8fda22&algo_expid=8f35b9f7-e9b3-4281-94e4-8e5ffe76435b-8&algo_pvid=8f35b9f7-e9b3-4281-94e4-8e5ffe76435b
	Raspberry pi 3	Pi 2 will also work			1	37.5	37.5	37.5	Can be sourced slightly cheaper from overseas. Alternativelty the apporox half-priced RPi2 also works.
	PiCamera	V1 or V2 work	better if it already has the lens		1	18.99	18.99	10.4	Can be sourced cheaper from overseas, or pieced together from individual components purchased individually	https://www.aliexpress.com/item/RPI-2-raspberry-pi-2-camera-Adjustable-Night-Vision-5-megapixel-OV5647-sensor-Camera-module-Support/32420453448.html?spm=2114.search0104.3.25.3VvlRs&ws_ab_test=searchweb0_0,searchweb201602_2_10152_10065_10151_10068_10193_10194_10308_10304_10137_10060_10302_10155_438_5360015_10154_10056_10055_10054_10059_100031_10099_10103_10102_10101_10052_10053_10142_10107_10050_10051_10084_10083_10080_10082_10081_10177_10110_10111_10112_10113_10114_10180_10182_10184_10078_10079_10073_10186,searchweb201603_13,ppcSwitch_3&btsid=38c909f5-a310-481c-89c5-d14c54fe4c51&algo_expid=a8d7f3a7-617f-4f33-bcd6-63ae29f633a0-6&algo_pvid=a8d7f3a7-617f-4f33-bcd6-63ae29f633a0
	HDMI cable	0.5m			1	1.55	1.55	1.54		https://www.aliexpress.com/item/3FT-9FT-0-3M-1M-2M-3M-5M-7-5M10M-High-speed-Gold-Plated-Plug-Male/32708168897.html?spm=2114.search0104.3.1.ojxIyb&ws_ab_test=searchweb0_0,searchweb201602_2_10152_10065_10151_10068_10193_10194_10304_10137_10060_10302_10155_438_10154_10056_10055_10054_10059_100031_10099_10103_10102_10101_10052_10053_10142_10107_10050_10051_10084_10083_10080_10082_10081_10177_10110_10111_10112_10113_10114_10180_10182_10184_10078_10079_10073_10186_5360020_10189,searchweb201603_13,ppcSwitch_3&btsid=85d8097f-835c-40c8-aced-ad725faf6d9e&algo_expid=7fc5fd05-3ff3-4c0d-87b9-61fd4660a636-0&algo_pvid=7fc5fd05-3ff3-4c0d-87b9-61fd4660a636
	USB cable	A to micro B			1	1.5	1.5	1.99		https://www.aliexpress.com/item/NEW-Universal-Purple-short-20cm-Flat-Cable-USB-A-Male-to-Micro-B-Male-USB-Data/32811218645.html?spm=2114.search0104.3.8.KS32Ai&ws_ab_test=searchweb0_0,searchweb201602_2_10152_10065_10151_10068_10193_10194_10304_10137_10060_10302_10155_438_10154_10056_10055_10054_10059_100031_10099_10103_10102_10101_10052_10053_10142_10107_10050_10051_10084_10083_10080_10082_10081_10177_10110_10111_10112_10113_10114_10180_10182_10184_10078_10079_10073_10186_5360020_10189-10102,searchweb201603_13,ppcSwitch_3&btsid=a93c44ea-679f-4e91-9182-01b247b3246d&algo_expid=ad604986-3870-45dc-a8fb-bf5efecdc00f-1&algo_pvid=ad604986-3870-45dc-a8fb-bf5efecdc00f
	Screws	M3	Head cap	6-20mm long	20	0.05	1	1	Approximate and depending on configuration - see Assembly Manual

	Arduino and cable
	Arduino Nano	Atmega328			1	22.9	22.9	1.98	Can be sourced dramatically cheaper from overseas	https://www.aliexpress.com/item/Freeshipping-10PCS-Nano-3-0-controller-compatible-with-arduino-nano-CH340-USB-driver-NO-CABLE-NANO/32370018370.html?spm=2114.search0104.3.1.0nwSri&ws_ab_test=searchweb0_0,searchweb201602_2_10152_10065_10151_10068_10193_10194_10308_10304_10137_10060_10302_10155_438_10154_10056_10055_10054_10059_100031_10099_10103_10102_10101_10052_10053_10142_10107_10050_10051_10084_10083_10080_10082_10081_10177_10110_10111_10112_10113_10114_10180_10182_10184_10078_10079_10073_10186_5360020,searchweb201603_13,ppcSwitch_3&btsid=6281bd17-aede-4cf0-af16-a2c8aa6026e3&algo_expid=619c94dc-7b1d-4deb-beff-4a0bd7ace081-3&algo_pvid=619c94dc-7b1d-4deb-beff-4a0bd7ace081
	socket terminal strip	20 pin	2.54 spacing	8.5mm height	2	0.27	0.54	0.11		https://www.aliexpress.com/item/Pitch-2-54mm-2-3-4-5-6-7-8-9-10-11-12-13-14/32787280922.html?spm=2114.10010108.1000014.9.qIV5rI&traffic_analysisId=recommend_3035_null_null_null&scm=1007.13338.80878.000000000000000&pvid=0a94a4c2-fd22-4426-b37f-0ba13e005177&tpp=1
	USB cable	A to mini B	0.3m		1	1.95	1.95	0.59		https://www.aliexpress.com/item/High-Quality-75cm-100cm-USB-2-0-A-male-to-MINI-B-V3-5-PIN-5P/32801510782.html?spm=2114.search0104.3.25.wtOAjW&ws_ab_test=searchweb0_0,searchweb201602_2_10152_10065_10151_10068_10193_10194_10308_10304_10137_10060_10302_10155_438_10154_10056_10055_10054_10059_100031_10099_10103_10102_10101_10052_10053_10142_10107_10050_10051_10084_10083_10080_10082_10081_10177_10110_10111_10112_10113_10114_10180_10182_10184_10078_10079_10073_10186_5360020-10051,searchweb201603_13,ppcSwitch_3&btsid=4a6abe52-9b86-4f21-a215-343d449e9900&algo_expid=49933796-7a34-465b-b825-458d971c9918-3&algo_pvid=49933796-7a34-465b-b825-458d971c9918
							122.47	66.59

recommended	LED Ring
	Adafruit neopixel ring	12 LEDs			1	6.71	6.71	1.6	Can sometimes be sourced slightly cheaper from alternative suppliers	https://www.aliexpress.com/item/12-bits-RGB-LED-Ring-WS2812-5050-RGB-LED-development-board-for-Smart-home/32820201939.html?spm=2114.search0104.3.37.Qpnu5o&ws_ab_test=searchweb0_0,searchweb201602_2_10152_10065_10151_10068_10193_10194_10308_10304_10137_10060_10302_10155_5360017_438_10154_10056_10055_10054_10059_100031_10099_9912_10103_10102_10101_10052_10053_10142_10107_10050_10051_10084_10083_10080_10082_10081_10177_10110_10111_10112_10113_10114_10180_10182_10184_10078_10079_10073_10186-9912,searchweb201603_13,ppcSwitch_3&btsid=14f2f86b-2f65-4084-9367-46406239e117&algo_expid=fb62982f-a9b0-4710-98f7-1bcba27a8584-5&algo_pvid=fb62982f-a9b0-4710-98f7-1bcba27a8584
	Screw terminal	3pin	6A		1	0.36	0.36	0.2		https://www.aliexpress.com/item/10pcs-3-Poles-3-Pin-2-54mm-PCB-Universal-Screw-Terminal-Block-Connector/32776711319.html?spm=2114.search0104.3.98.aMFMyq&ws_ab_test=searchweb0_0,searchweb201602_2_10152_10065_10151_10068_10193_10194_10304_10137_10060_10302_10155_438_10154_10056_10055_10054_10059_100031_10099_10103_10102_10101_10052_10053_10142_10107_10050_10051_10084_10083_10080_10082_10081_10177_10110_10111_10112_10113_10114_10180_10182_10184_10078_10079_10073_10186_5360020_10189-10050_10152,searchweb201603_13,ppcSwitch_3&btsid=c22ada24-daa4-4395-b48a-4bea5519d8a2&algo_expid=99f6e316-6080-40f4-86ef-6580027f6787-12&algo_pvid=99f6e316-6080-40f4-86ef-6580027f6787
	Capacitor	16V	680µF	Electrolitic	1	0.43	0.43	0.08		https://www.aliexpress.com/item/20-pcs-Electrolytic-Capacitors-High-Frequency-16V-680UF/1814798466.html?spm=2114.search0104.3.1.Mcotza&ws_ab_test=searchweb0_0,searchweb201602_2_10152_10065_10151_10068_10193_10194_10304_10137_10060_10302_10155_438_10154_10056_10055_10054_10059_100031_10099_10103_10102_10101_10052_10053_10142_10107_10050_10051_10084_10083_10080_10082_10081_10177_10110_10111_10112_10113_10114_10180_10182_10184_10078_10079_10073_10186_5360020_10189,searchweb201603_13,ppcSwitch_3&btsid=d2fa7b05-9ad0-4204-aab3-68a60ea91af0&algo_expid=f0ad7e2c-c537-4526-9afc-85897d198fe8-0&algo_pvid=f0ad7e2c-c537-4526-9afc-85897d198fe8
	Capacitor	16V	220µF	Electrolitic	1	0.08	0.08	0.08		https://www.aliexpress.com/item/10-pcs-Electrolytic-Capacitors-High-Frequency-16V-2200UF-10X25MM/1821586609.html?spm=2114.search0104.3.17.zNurir&ws_ab_test=searchweb0_0,searchweb201602_2_10152_10065_10151_10068_10193_10194_10308_10304_10137_10060_10302_10155_5360017_438_10154_10056_10055_10054_10059_100031_10099_10103_10102_10101_10052_10053_10142_10107_10050_10051_10084_10083_10080_10082_10081_10177_10110_10111_10112_10113_10114_10180_10182_10184_10078_10079_10073_10186-10050,searchweb201603_13,ppcSwitch_3&btsid=ef30f953-f129-455a-b027-2d39005948a4&algo_expid=530a2688-3033-4bf1-a71e-0e7a811d6663-2&algo_pvid=530a2688-3033-4bf1-a71e-0e7a811d6663
	Diode	20-60V	3A	Schottky	1	0.18	0.18	0.03		https://www.aliexpress.com/item/10PCS-Lot-New-Original-1N5822-IN5822-Schottky-Diode-3A-40V-DIP-Wholesale-Electronic/32493170677.html?spm=2114.search0104.3.9.XafF9A&ws_ab_test=searchweb0_0,searchweb201602_2_10152_10065_10151_10068_10193_10194_10308_10304_10137_10060_10302_10155_438_5360015_10154_10056_10055_10054_10059_100031_10099_10103_10102_10101_10052_10053_10142_10107_10050_10051_10084_10083_10080_10082_10081_10177_10110_10111_10112_10113_10114_10180_10182_10184_10078_10079_10073_10186,searchweb201603_13,ppcSwitch_3&btsid=70f35943-6368-40d9-8d52-5beeafe4edf4&algo_expid=ecca2923-c3b4-4391-9262-38f33f5602b8-1&algo_pvid=ecca2923-c3b4-4391-9262-38f33f5602b8
	Screws	M3	Head cap	6mm long	1	0.05	0.05	0.03		https://www.aliexpress.com/item/50Pcs-M3-Alloy-Steel-Screws-Hex-Socket-Round-Head-Cap-Black-Screw-Furniture-Fastener-Bolt-M3/32773255624.html?spm=2114.search0104.3.1.SUMM5S&ws_ab_test=searchweb0_0,searchweb201602_2_10152_10065_10151_10068_10193_10194_10308_10304_10137_10060_10302_10155_438_10154_10056_10055_10054_10059_100031_10099_10103_10102_10101_10052_10053_10142_10107_10050_10051_10084_10083_10080_10082_10081_10177_10110_10111_10112_10113_10114_10180_10310_10182_10184_10078_10079_10073_10186_5360020,searchweb201603_1,ppcSwitch_3&btsid=2986c3e8-1833-41a2-b304-87bccf6c5f26&algo_expid=775e0cca-170a-4d0f-9206-a2a4fbf0a821-0&algo_pvid=775e0cca-170a-4d0f-9206-a2a4fbf0a821
	Inductor	3.6A	33µH	Ferrit	1	0.6	0.6	0.29		https://www.aliexpress.com/item/Inductor-8-10mm-33UH-frequency-ferrite-330K-0-8Amp-10-PVC-Radial-Leaded-Power-inductor-New/32760358088.html?spm=2114.search0104.3.15.cCagMV&ws_ab_test=searchweb0_0,searchweb201602_2_10152_10065_10151_10068_10193_10194_10308_10304_10137_10060_10302_10155_5360017_438_10154_10056_10055_10054_10059_100031_10099_10103_10102_10101_10052_10053_10142_10107_10050_10051_10084_10083_10080_10082_10081_10177_10110_10111_10112_10113_10114_10180_10182_10184_10078_10079_10073_10186,searchweb201603_13,ppcSwitch_3&btsid=212660ae-abf8-4d73-b855-dc0f29a54bf4&algo_expid=9923e584-e0f5-44ba-9688-3a16f21a9cf1-2&algo_pvid=9923e584-e0f5-44ba-9688-3a16f21a9cf1
	Switching volt reg (LM2596)	45V	3A	TO-220-5	1	3.8	3.8	0.23	Can be sourced cheaper from overseas	https://www.aliexpress.com/item/LM2596T-5-0-LM2596-TO220-5pcs-lot/32457405052.html?spm=2114.search0104.3.59.T30gbc&ws_ab_test=searchweb0_0,searchweb201602_2_10152_10065_10151_10068_10193_10194_10308_10304_10137_10060_10302_10155_438_10154_10056_10055_10054_10059_100031_10099_10103_10102_10101_10052_10053_10142_10107_10050_10051_10084_10083_10080_10082_10081_10177_10110_10111_10112_10113_10114_10180_10182_10184_10078_10079_10073_10186_5360020-10177,searchweb201603_13,ppcSwitch_3&btsid=6ceca4e0-6d4e-495b-84ed-01c76a8fda22&algo_expid=8f35b9f7-e9b3-4281-94e4-8e5ffe76435b-8&algo_pvid=8f35b9f7-e9b3-4281-94e4-8e5ffe76435b
							12.21	2.54

optional	LED Matrix (added to Ring power circuit)
	Adafruit LED matrix	8X8	with backpack	blue	1	10.7	10.7	3.18	Can sometimes be sourced slighty cheaper from alternative suppliers	https://www.aliexpress.com/item/2016-New-Keyestudio-I2C-8X8-LED-Matrix-HT16K33-Lattice-Module-Black/32687211979.html?spm=2114.search0104.3.1.e0hyri&ws_ab_test=searchweb0_0,searchweb201602_2_10152_10065_10151_10068_10193_10194_10308_10304_10137_10060_10302_10155_438_10154_10056_10055_10054_10059_100031_10099_10103_10102_10101_10052_10053_10142_10107_10050_10051_10084_10083_10080_10082_10081_10177_10110_10111_10112_10113_10114_10180_10182_10184_10078_10079_10073_10186_5360020-10102,searchweb201603_13,ppcSwitch_3&btsid=50e60ebd-c59e-4256-9432-8d2c7ebbaff3&algo_expid=d72d59d6-4a0c-4847-8ac3-ab0ebcfd32d4-0&algo_pvid=d72d59d6-4a0c-4847-8ac3-ab0ebcfd32d4
	Screws	M3	Head cap	6mm long	1	0.05	0.05	0.03		https://www.aliexpress.com/item/50Pcs-M3-Alloy-Steel-Screws-Hex-Socket-Round-Head-Cap-Black-Screw-Furniture-Fastener-Bolt-M3/32773255624.html?spm=2114.search0104.3.1.SUMM5S&ws_ab_test=searchweb0_0,searchweb201602_2_10152_10065_10151_10068_10193_10194_10308_10304_10137_10060_10302_10155_438_10154_10056_10055_10054_10059_100031_10099_10103_10102_10101_10052_10053_10142_10107_10050_10051_10084_10083_10080_10082_10081_10177_10110_10111_10112_10113_10114_10180_10310_10182_10184_10078_10079_10073_10186_5360020,searchweb201603_1,ppcSwitch_3&btsid=2986c3e8-1833-41a2-b304-87bccf6c5f26&algo_expid=775e0cca-170a-4d0f-9206-a2a4fbf0a821-0&algo_pvid=775e0cca-170a-4d0f-9206-a2a4fbf0a821
	Screw terminal	2pin	6A		1	0.24	0.24	0.22		https://www.aliexpress.com/item/10pcs-2-Poles-2-Pin-2-54mm-PCB-Universal-Screw-Terminal-Block-Connector/32774484674.html?spm=2114.search0104.3.17.Oig9Vl&ws_ab_test=searchweb0_0,searchweb201602_2_10152_10065_10151_10068_10193_10194_10304_10137_10060_10302_10155_438_10154_10056_10055_10054_10059_100031_10099_10103_10102_10101_10052_10053_10142_10107_10050_10051_10084_10083_10080_10082_10081_10177_10110_10111_10112_10113_10114_10180_10182_10184_10078_10079_10073_10186_5360020_10189-10050,searchweb201603_13,ppcSwitch_3&btsid=46310505-2d51-489e-bb67-ede615e06320&algo_expid=7969ed1b-026b-4477-860e-e33562127ce1-2&algo_pvid=7969ed1b-026b-4477-860e-e33562127ce1
							10.99	3.43

optional	Fluorescence module
	LED(violet – High power)	3.9V	350mA	130mW	1	8.79	8.79	0.1	There are many UV LEDs available, many of which are substantially cheaper	https://www.aliexpress.com/item/100pcs-1W-3W-High-Power-white-warm-white-red-green-Blue-Royal-blue-660nm-LED-with/32773866977.html?spm=2114.search0104.8.3.oeDULZ
	Reflective collimator	6°	17.5mm	CLP17CR	1	2.33	2.33	0.5	helpful to focus the light, but not essential	https://www.aliexpress.com/item/20pcs-Black-White-30-45-60-Degree-XP-E-XP-G-XT-E-LED-LENS-Reflector/32214132743.html?spm=2114.search0104.3.309.nLIkSr&ws_ab_test=searchweb0_0,searchweb201602_2_10152_10065_10151_10068_10193_10194_10308_10304_10137_10060_10302_10155_438_10154_10056_10055_10054_10059_100031_10099_10103_10102_10101_10052_10053_10142_10107_10050_10051_10084_10083_10080_10082_10081_10177_10110_10111_10112_10113_10114_10180_10182_10184_10078_10079_10073_10186_5360020,searchweb201603_13,ppcSwitch_3&btsid=f46bd1d6-129e-4502-aab9-793e9ba60040&algo_expid=74222cdd-922f-4e34-9ac7-b5a93d8eb8c0-40&algo_pvid=74222cdd-922f-4e34-9ac7-b5a93d8eb8c0
	Heat sink	36X36X12			1	1.15	1.15	1.15		https://www.aliexpress.com/item/Silver-Tone-Aluminum-Cooler-Radiator-Heat-Sink-Heatsink-40x40x20mm/32764361078.html?spm=2114.search0104.3.156.lYkb4w&ws_ab_test=searchweb0_0,searchweb201602_2_10152_10065_10151_10068_10193_10194_10304_10137_10060_10302_10155_438_10154_10056_10055_10054_10059_100031_10099_10103_10102_10101_10052_10053_10142_10107_10050_10051_10084_10083_10080_10082_10081_10177_10110_10111_10112_10113_10114_10180_10182_10184_10078_10079_10073_10186_5360020_10189,searchweb201603_13,ppcSwitch_3&btsid=e4c530c3-dd0e-4fb1-8699-6d390aa87213&algo_expid=290a9c7b-bbd3-43be-b86a-a4492f20114d-22&algo_pvid=290a9c7b-bbd3-43be-b86a-a4492f20114d
	Resistor(High power)	11W	12Ohm	axial	1	0.65	0.65			https://www.reichelt.de/11-Watt-axial/11W-AXIAL-12/3/index.html?&ACTION=3&LA=2&ARTICLE=1506&GROUPID=3120&artnr=11W+AXIAL+12 ?&ACTION=3&LA=2&ARTICLE=1506&GROUPID=3120&artnr=11W+AXIAL+12
	Excitation filter	Roscolux #381			0.001	10.2	10.2	0.1	A full roll of filter costs 10.2 Euro, but less than 0.1% is needed	https://www.rosco.com/uk/german/filters/roscolux.cfm
	Emission filter	Roscolux #12			0.001	10.2	10.2	0.1	A full roll of filter costs 10.2 Euro, but less than 0.1% is needed	https://www.rosco.com/uk/german/filters/roscolux.cfm
	Screw terminal	2pin	6A		2	0.24	0.48	0.44		https://www.aliexpress.com/item/10pcs-2-Poles-2-Pin-2-54mm-PCB-Universal-Screw-Terminal-Block-Connector/32774484674.html?spm=2114.search0104.3.17.Oig9Vl&ws_ab_test=searchweb0_0,searchweb201602_2_10152_10065_10151_10068_10193_10194_10304_10137_10060_10302_10155_438_10154_10056_10055_10054_10059_100031_10099_10103_10102_10101_10052_10053_10142_10107_10050_10051_10084_10083_10080_10082_10081_10177_10110_10111_10112_10113_10114_10180_10182_10184_10078_10079_10073_10186_5360020_10189-10050,searchweb201603_13,ppcSwitch_3&btsid=46310505-2d51-489e-bb67-ede615e06320&algo_expid=7969ed1b-026b-4477-860e-e33562127ce1-2&algo_pvid=7969ed1b-026b-4477-860e-e33562127ce1
	Capacitor	16V	680µF	Electrolitic	1	0.43	0.43	0.08		https://www.aliexpress.com/item/20-pcs-Electrolytic-Capacitors-High-Frequency-16V-680UF/1814798466.html?spm=2114.search0104.3.1.Mcotza&ws_ab_test=searchweb0_0,searchweb201602_2_10152_10065_10151_10068_10193_10194_10304_10137_10060_10302_10155_438_10154_10056_10055_10054_10059_100031_10099_10103_10102_10101_10052_10053_10142_10107_10050_10051_10084_10083_10080_10082_10081_10177_10110_10111_10112_10113_10114_10180_10182_10184_10078_10079_10073_10186_5360020_10189,searchweb201603_13,ppcSwitch_3&btsid=d2fa7b05-9ad0-4204-aab3-68a60ea91af0&algo_expid=f0ad7e2c-c537-4526-9afc-85897d198fe8-0&algo_pvid=f0ad7e2c-c537-4526-9afc-85897d198fe8
	Capacitor	16V	220µF	Electrolitic	1	0.08	0.08	0.08		https://www.aliexpress.com/item/10-pcs-Electrolytic-Capacitors-High-Frequency-16V-2200UF-10X25MM/1821586609.html?spm=2114.search0104.3.17.zNurir&ws_ab_test=searchweb0_0,searchweb201602_2_10152_10065_10151_10068_10193_10194_10308_10304_10137_10060_10302_10155_5360017_438_10154_10056_10055_10054_10059_100031_10099_10103_10102_10101_10052_10053_10142_10107_10050_10051_10084_10083_10080_10082_10081_10177_10110_10111_10112_10113_10114_10180_10182_10184_10078_10079_10073_10186-10050,searchweb201603_13,ppcSwitch_3&btsid=ef30f953-f129-455a-b027-2d39005948a4&algo_expid=530a2688-3033-4bf1-a71e-0e7a811d6663-2&algo_pvid=530a2688-3033-4bf1-a71e-0e7a811d6663
	Diode	20-60V	3A	Schottky	1	0.18	0.18	0.03		https://www.aliexpress.com/item/10PCS-Lot-New-Original-1N5822-IN5822-Schottky-Diode-3A-40V-DIP-Wholesale-Electronic/32493170677.html?spm=2114.search0104.3.9.XafF9A&ws_ab_test=searchweb0_0,searchweb201602_2_10152_10065_10151_10068_10193_10194_10308_10304_10137_10060_10302_10155_438_5360015_10154_10056_10055_10054_10059_100031_10099_10103_10102_10101_10052_10053_10142_10107_10050_10051_10084_10083_10080_10082_10081_10177_10110_10111_10112_10113_10114_10180_10182_10184_10078_10079_10073_10186,searchweb201603_13,ppcSwitch_3&btsid=70f35943-6368-40d9-8d52-5beeafe4edf4&algo_expid=ecca2923-c3b4-4391-9262-38f33f5602b8-1&algo_pvid=ecca2923-c3b4-4391-9262-38f33f5602b8
	Inductor	3.6A	33µH	Ferrit	1	0.6	0.6	0.29		https://www.aliexpress.com/item/Inductor-8-10mm-33UH-frequency-ferrite-330K-0-8Amp-10-PVC-Radial-Leaded-Power-inductor-New/32760358088.html?spm=2114.search0104.3.15.cCagMV&ws_ab_test=searchweb0_0,searchweb201602_2_10152_10065_10151_10068_10193_10194_10308_10304_10137_10060_10302_10155_5360017_438_10154_10056_10055_10054_10059_100031_10099_10103_10102_10101_10052_10053_10142_10107_10050_10051_10084_10083_10080_10082_10081_10177_10110_10111_10112_10113_10114_10180_10182_10184_10078_10079_10073_10186,searchweb201603_13,ppcSwitch_3&btsid=212660ae-abf8-4d73-b855-dc0f29a54bf4&algo_expid=9923e584-e0f5-44ba-9688-3a16f21a9cf1-2&algo_pvid=9923e584-e0f5-44ba-9688-3a16f21a9cf1
	Switching volt reg (LM2596)	45V	3A	TO-220-5	1	3.8	3.8	0.23	Can be sourced cheaper from overseas	https://www.aliexpress.com/item/LM2596T-5-0-LM2596-TO220-5pcs-lot/32457405052.html?spm=2114.search0104.3.59.T30gbc&ws_ab_test=searchweb0_0,searchweb201602_2_10152_10065_10151_10068_10193_10194_10308_10304_10137_10060_10302_10155_438_10154_10056_10055_10054_10059_100031_10099_10103_10102_10101_10052_10053_10142_10107_10050_10051_10084_10083_10080_10082_10081_10177_10110_10111_10112_10113_10114_10180_10182_10184_10078_10079_10073_10186_5360020-10177,searchweb201603_13,ppcSwitch_3&btsid=6ceca4e0-6d4e-495b-84ed-01c76a8fda22&algo_expid=8f35b9f7-e9b3-4281-94e4-8e5ffe76435b-8&algo_pvid=8f35b9f7-e9b3-4281-94e4-8e5ffe76435b
	Screws	M3	Head cap	6mm long	1	0.05	0.05	0.03		https://www.aliexpress.com/item/50Pcs-M3-Alloy-Steel-Screws-Hex-Socket-Round-Head-Cap-Black-Screw-Furniture-Fastener-Bolt-M3/32773255624.html?spm=2114.search0104.3.1.SUMM5S&ws_ab_test=searchweb0_0,searchweb201602_2_10152_10065_10151_10068_10193_10194_10308_10304_10137_10060_10302_10155_438_10154_10056_10055_10054_10059_100031_10099_10103_10102_10101_10052_10053_10142_10107_10050_10051_10084_10083_10080_10082_10081_10177_10110_10111_10112_10113_10114_10180_10310_10182_10184_10078_10079_10073_10186_5360020,searchweb201603_1,ppcSwitch_3&btsid=2986c3e8-1833-41a2-b304-87bccf6c5f26&algo_expid=775e0cca-170a-4d0f-9206-a2a4fbf0a821-0&algo_pvid=775e0cca-170a-4d0f-9206-a2a4fbf0a821
	Resistor	1/4W	270Ohm	carbon film	1	0.11	0.11	0.01		https://www.aliexpress.com/item/100PCS-1-4W-270-ohm-resistor-1-ROHS1-4w-270R-ohm-Metal-Film-Resistors-0/32689112935.html?spm=2114.search0104.3.1.6BUaVe&ws_ab_test=searchweb0_0,searchweb201602_2_10152_10065_10151_10068_10193_10194_10308_10304_10137_10060_10302_10155_438_10154_10056_10055_10054_10059_100031_10099_10103_10102_10101_10052_10053_10142_10107_10050_10051_10084_10083_10080_10082_10081_10177_10110_10111_10112_10113_10114_10180_10310_10182_10184_10078_10079_10073_10186_5360020,searchweb201603_1,ppcSwitch_3&btsid=d073c29c-cf66-4810-88fb-2b2722582962&algo_expid=1b835c1f-83ec-4d13-b215-740b5c3a0458-0&algo_pvid=1b835c1f-83ec-4d13-b215-740b5c3a0458
	Transisitor (BC368)	20V	1A	0.8W	3	0.08	0.24	0.02		https://www.aliexpress.com/item/100PCS-Transistor-BC639-1A-80V-NPN-transistor-TO-92-DIP/32430350812.html?spm=2114.search0104.3.52.Iurn3U&ws_ab_test=searchweb0_0,searchweb201602_2_10152_10065_10151_10068_10193_10194_10308_10304_10137_10060_10302_10155_438_10154_10056_10055_10054_10059_100031_10099_10103_10102_10101_10052_10053_10142_10107_10050_10051_10084_10083_10080_10082_10081_10177_10110_10111_10112_10113_10114_10180_10310_10182_10184_10078_10079_10073_10186_5360020,searchweb201603_1,ppcSwitch_3&btsid=272afe9f-0d88-4acb-aa47-c0ba6cbba515&algo_expid=03daaa65-23e7-482c-a09e-0b2f7095e82f-7&algo_pvid=03daaa65-23e7-482c-a09e-0b2f7095e82f
							39.29	3.16

optional	Focus Servo (added to Fluorescence power circuit)
	Screws	M3	Head cap	6mm long	1	0.05	0.05	0.03		https://www.aliexpress.com/item/50Pcs-M3-Alloy-Steel-Screws-Hex-Socket-Round-Head-Cap-Black-Screw-Furniture-Fastener-Bolt-M3/32773255624.html?spm=2114.search0104.3.1.SUMM5S&ws_ab_test=searchweb0_0,searchweb201602_2_10152_10065_10151_10068_10193_10194_10308_10304_10137_10060_10302_10155_438_10154_10056_10055_10054_10059_100031_10099_10103_10102_10101_10052_10053_10142_10107_10050_10051_10084_10083_10080_10082_10081_10177_10110_10111_10112_10113_10114_10180_10310_10182_10184_10078_10079_10073_10186_5360020,searchweb201603_1,ppcSwitch_3&btsid=2986c3e8-1833-41a2-b304-87bccf6c5f26&algo_expid=775e0cca-170a-4d0f-9206-a2a4fbf0a821-0&algo_pvid=775e0cca-170a-4d0f-9206-a2a4fbf0a821
	Servo motor	5V		cont. rotation	1	6.99	6.99	3.8	Can be sourced cheaper from alternative suppliers	https://www.aliexpress.com/item/RCmall-Feetech-FS90R-Servo-360-Degree-Continuous-Rotation-Micro-RC-Quadcopter-Servo-For-RC-Car-Boat/32783328217.html?spm=2114.search0104.3.9.BZkPOx&ws_ab_test=searchweb0_0,searchweb201602_2_10152_10065_10151_10068_10193_10194_10308_10304_10137_10060_10302_10155_438_10154_10056_10055_10054_10059_100031_10099_10103_10102_10101_10052_10053_10142_10107_10050_10051_10084_10083_10080_10082_10081_10177_10110_10111_10112_10113_10114_10180_10310_10182_10184_10078_10079_10073_10186_5360020-10052_10102,searchweb201603_1,ppcSwitch_3&btsid=9ca6ea88-c3a4-45eb-ba02-2c55716a58f8&algo_expid=5b3e87d5-f26a-49f3-aea6-b8c5f1cf2dd5-1&algo_pvid=5b3e87d5-f26a-49f3-aea6-b8c5f1cf2dd5
	Screw terminal	3pin	6A		1	0.36	0.36	0.2		https://www.aliexpress.com/item/10pcs-3-Poles-3-Pin-2-54mm-PCB-Universal-Screw-Terminal-Block-Connector/32776711319.html?spm=2114.search0104.3.98.aMFMyq&ws_ab_test=searchweb0_0,searchweb201602_2_10152_10065_10151_10068_10193_10194_10304_10137_10060_10302_10155_438_10154_10056_10055_10054_10059_100031_10099_10103_10102_10101_10052_10053_10142_10107_10050_10051_10084_10083_10080_10082_10081_10177_10110_10111_10112_10113_10114_10180_10182_10184_10078_10079_10073_10186_5360020_10189-10050_10152,searchweb201603_13,ppcSwitch_3&btsid=c22ada24-daa4-4395-b48a-4bea5519d8a2&algo_expid=99f6e316-6080-40f4-86ef-6580027f6787-12&algo_pvid=99f6e316-6080-40f4-86ef-6580027f6787	or maybe this would work https://www.reichelt.de/11-Watt-axial/11W-AXIAL-12/3/index.html?&ACTION=3&LA=2&ARTICLE=1506&GROUPID=3120&artnr=11W+AXIAL+12
							7.35	4

optional	Peltier module
	H-Bridge (L298N)	Multiwatt 15			1	2.4	2.4	0.93		https://www.aliexpress.com/item/5PCS-IC-L298-L298N-ZIP-15-IC-DRIVER-FULL-DUAL-15MULTIWATT-GOOD-QUANLITY/32649183724.html?spm=2114.search0104.3.17.Q5rLsI&ws_ab_test=searchweb0_0,searchweb201602_2_10152_10065_10151_10068_10193_10194_10308_10304_10137_10060_10302_10155_438_10154_10056_10055_10054_10059_100031_10099_10103_10102_10101_10052_10053_10142_10107_10050_10051_10084_10083_10080_10082_10081_10177_10110_10111_10112_10113_10114_10180_10310_10182_10184_10078_10079_10073_10186_5360020,searchweb201603_1,ppcSwitch_3&btsid=e33d78ee-9cf6-451f-9fea-31cb06b16cd4&algo_expid=1ff7b8b5-164c-4fd2-8fa3-f15fc73d8bca-5&algo_pvid=1ff7b8b5-164c-4fd2-8fa3-f15fc73d8bca
	Fan	5V	40X40X20		1	7.5	7.5	2.13	Can be sourced cheaper from different suppliers. Alternatively, any old CPU fan will work	https://www.aliexpress.com/item/4010-fan-2pins-40mm-40mmx40mmx10mm-4cm-graphics-card-fan-cooling-fan-DC-24V-24V-4010-2P/32705615199.html?spm=2114.search0104.3.2.ikw6Zk&ws_ab_test=searchweb0_0,searchweb201602_2_10152_10065_10151_10068_10193_10194_10308_10304_10137_10060_10302_10155_438_10154_10056_10055_10054_10059_100031_10099_10103_10102_10101_10052_10053_10142_10107_10050_10051_10084_10083_10080_10082_10081_10177_10110_10111_10112_10113_10114_10180_10310_10182_10184_10078_10079_10073_10186_5360020-10051,searchweb201603_1,ppcSwitch_3&btsid=8e61e566-b946-42ed-ae82-3d6325b3a70a&algo_expid=fa296487-d6f2-4706-bfaa-928f17659936-0&algo_pvid=fa296487-d6f2-4706-bfaa-928f17659936
	Capacitor	100V	0.1µF	Electrolitic	2	0.04	0.08	0.03		https://www.aliexpress.com/item/50pcs-0-1uF-0-1-uF-104-50V-Mono-Monolithic-Capacitors/32816477062.html?spm=2114.search0104.3.26.wsvv2i&ws_ab_test=searchweb0_0,searchweb201602_2_10152_10065_10151_10068_10193_10194_10308_10304_10137_10060_10302_10155_438_10154_10056_10055_10054_10059_100031_10099_10103_10102_10101_10052_10053_10142_10107_10050_10051_10084_10083_10080_10082_10081_10177_10110_10111_10112_10113_10114_10180_10310_10182_10184_10078_10079_10073_10186_5360020,searchweb201603_1,ppcSwitch_3&btsid=68390cdc-ed3a-479e-9d2d-b08b0aa10398&algo_expid=f0444103-b791-4623-ab51-0f94d3e350c3-3&algo_pvid=f0444103-b791-4623-ab51-0f94d3e350c3
	LED RGB	4V	20mA	4 pin	1	0.58	0.58	0.11		https://www.aliexpress.com/item/10pcs-lot-5mm-RGB-LED-Common-Cathode-4pin-Red-Green-Blue-LED-Round-Tricolor-LED-Light/32601543257.html?spm=2114.search0104.3.18.pWpXpO&ws_ab_test=searchweb0_0,searchweb201602_2_10152_10065_10151_10068_10193_10194_10308_10304_10137_10060_10302_10155_438_10154_10056_10055_10054_10059_100031_10099_10103_10102_10101_10052_10053_10142_10107_10050_10051_10084_10083_10080_10082_10081_10177_10110_10111_10112_10113_10114_10180_10310_10182_10184_10078_10079_10073_10186_5360020,searchweb201603_1,ppcSwitch_3&btsid=fc5d6fda-b772-4964-a22b-295821b70984&algo_expid=f3b9e076-9d74-4050-a525-1bef48f9540e-2&algo_pvid=f3b9e076-9d74-4050-a525-1bef48f9540e
	Resistor	1/4W	220Ohm	carbon film	3	0.11	0.33	0.03		https://www.aliexpress.com/item/100PCS-LOT-1-4W-220-ohm-resistor-1-ROHS1-4w-220R-ohm-Metal-Film-Resistors/32689231347.html?spm=2114.search0104.3.2.enbSOD&ws_ab_test=searchweb0_0,searchweb201602_2_10152_10065_10151_10068_10193_10194_10308_10304_10137_10060_10302_10155_438_10154_10056_10055_10054_10059_100031_10099_10103_10102_10101_10052_10053_10142_10107_10050_10051_10084_10083_10080_10082_10081_10177_10110_10111_10112_10113_10114_10180_10310_10182_10184_10078_10079_10073_10186_5360020-10050,searchweb201603_1,ppcSwitch_3&btsid=09537667-e831-4980-96ca-15d8abfc3415&algo_expid=9e95aacc-dfaa-4cf9-9732-9a9386a9cf09-0&algo_pvid=9e95aacc-dfaa-4cf9-9732-9a9386a9cf09
	Resistor	17W	1Ohm	Axial	1	0.97	0.97	0.79		https://www.aliexpress.com/item/High-Quality-10Pcs-1-ohm-R-1ohm-1R-20W-Cement-Ceramic-Power-Horizontal-Resistor-Resistance-Free/1923204405.html?spm=2114.search0104.3.15.u5AIa6&ws_ab_test=searchweb0_0,searchweb201602_2_10152_10065_10151_10068_10193_10194_10308_10304_10137_10060_10302_10155_438_10154_10056_10055_10054_10059_100031_10099_10103_10102_10101_10052_10053_10142_10107_10050_10051_10084_10083_10080_10082_10081_10177_10110_10111_10112_10113_10114_10180_10310_10182_10184_10078_10079_10073_10186_5360020,searchweb201603_1,ppcSwitch_3&btsid=df726be8-cb21-400c-9976-c3f2edef8abd&algo_expid=c56987f0-e03d-4b45-8d5a-19797887f7be-2&algo_pvid=c56987f0-e03d-4b45-8d5a-19797887f7be
	Resistor	1/4W	270Ohm	carbon film	1	0.11	0.11	0.01		https://www.aliexpress.com/item/100PCS-1-4W-270-ohm-resistor-1-ROHS1-4w-270R-ohm-Metal-Film-Resistors-0/32689112935.html?spm=2114.search0104.3.1.6BUaVe&ws_ab_test=searchweb0_0,searchweb201602_2_10152_10065_10151_10068_10193_10194_10308_10304_10137_10060_10302_10155_438_10154_10056_10055_10054_10059_100031_10099_10103_10102_10101_10052_10053_10142_10107_10050_10051_10084_10083_10080_10082_10081_10177_10110_10111_10112_10113_10114_10180_10310_10182_10184_10078_10079_10073_10186_5360020,searchweb201603_1,ppcSwitch_3&btsid=d073c29c-cf66-4810-88fb-2b2722582962&algo_expid=1b835c1f-83ec-4d13-b215-740b5c3a0458-0&algo_pvid=1b835c1f-83ec-4d13-b215-740b5c3a0458
	Resistor	1/4W	1kOhm	carbon film	1	0.11	0.11	0.01		https://www.aliexpress.com/item/1LOT-100PCS-Metal-Film-Axial-Resistors-1Kohm-1001-1-1-4W-1000ohm-0-25W-electronic-components/32526546113.html?spm=2114.search0104.3.25.4e4kaC&ws_ab_test=searchweb0_0,searchweb201602_2_10152_10065_10151_10068_10193_10194_10308_10304_10137_10060_10302_10155_438_10154_10056_10055_10054_10059_100031_10099_10103_10102_10101_10052_10053_10142_10107_10050_10051_10084_10083_10080_10082_10081_10177_10110_10111_10112_10113_10114_10180_10310_10182_10184_10078_10079_10073_10186_5360020-10052,searchweb201603_1,ppcSwitch_3&btsid=c4f03031-df50-4683-a760-f802474ab845&algo_expid=b84fdc40-a76b-45e9-ad7d-99bcab3b5eb0-3&algo_pvid=b84fdc40-a76b-45e9-ad7d-99bcab3b5eb0
	Transisitor (BC368)	20V	1A	0.8W	1	0.08	0.08	0.02		https://www.aliexpress.com/item/100PCS-Transistor-BC639-1A-80V-NPN-transistor-TO-92-DIP/32430350812.html?spm=2114.search0104.3.52.Iurn3U&ws_ab_test=searchweb0_0,searchweb201602_2_10152_10065_10151_10068_10193_10194_10308_10304_10137_10060_10302_10155_438_10154_10056_10055_10054_10059_100031_10099_10103_10102_10101_10052_10053_10142_10107_10050_10051_10084_10083_10080_10082_10081_10177_10110_10111_10112_10113_10114_10180_10310_10182_10184_10078_10079_10073_10186_5360020,searchweb201603_1,ppcSwitch_3&btsid=272afe9f-0d88-4acb-aa47-c0ba6cbba515&algo_expid=03daaa65-23e7-482c-a09e-0b2f7095e82f-7&algo_pvid=03daaa65-23e7-482c-a09e-0b2f7095e82f
	Peltier element	15.4V	6A	40X40X4.1mm	1	17.1	17.1	1.98	Can be sourced substantially cheaper from different suppliers	https://www.aliexpress.com/item/Free-shipping-5pcs-lot-TEC1-12705-Thermoelectric-Cooler-Peltier-12705-12V-5A-Cells-TEC12705-Peltier-Elemente/32275121350.html?spm=2114.search0104.3.9.9Wx8Wt&ws_ab_test=searchweb0_0,searchweb201602_2_10152_10065_10151_10068_10193_10194_10308_10304_10137_10060_10302_10155_438_10154_10056_10055_10054_10059_100031_10099_10103_10102_10101_10052_10053_10142_10107_10050_10051_10084_10083_10080_10082_10081_10177_10110_10111_10112_10113_10114_10180_10310_10182_10184_10078_10079_10073_10186_5360020-10051,searchweb201603_1,ppcSwitch_3&btsid=5cc1bfd5-a96b-415d-8dec-3fc039a6d7d5&algo_expid=66f5fa2b-3b40-4a34-87ae-8926541c008d-0&algo_pvid=66f5fa2b-3b40-4a34-87ae-8926541c008d
	Screw terminal	2pin	6A		4	0.24	0.96	0.88		https://www.aliexpress.com/item/10pcs-2-Poles-2-Pin-2-54mm-PCB-Universal-Screw-Terminal-Block-Connector/32774484674.html?spm=2114.search0104.3.17.Oig9Vl&ws_ab_test=searchweb0_0,searchweb201602_2_10152_10065_10151_10068_10193_10194_10304_10137_10060_10302_10155_438_10154_10056_10055_10054_10059_100031_10099_10103_10102_10101_10052_10053_10142_10107_10050_10051_10084_10083_10080_10082_10081_10177_10110_10111_10112_10113_10114_10180_10182_10184_10078_10079_10073_10186_5360020_10189-10050,searchweb201603_13,ppcSwitch_3&btsid=46310505-2d51-489e-bb67-ede615e06320&algo_expid=7969ed1b-026b-4477-860e-e33562127ce1-2&algo_pvid=7969ed1b-026b-4477-860e-e33562127ce1
	Heat sink	36X36X12			2	1.15	2.3	3.2		https://www.aliexpress.com/item/Aluminum-alloy-35-35-10MM-High-quality-heat-sink-Main-heat-sink-North-and-south-bridge/32425561394.html?spm=2114.search0104.3.188.v7LOmw&ws_ab_test=searchweb0_0,searchweb201602_2_10152_10065_10151_10068_10193_10194_10308_10304_10137_10060_10302_10155_438_10154_10056_10055_10054_10059_100031_10099_10103_10102_10101_10052_10053_10142_10107_10050_10051_10084_10083_10080_10082_10081_10177_10110_10111_10112_10113_10114_10180_10310_10182_10184_10078_10079_10073_10186_5360020,searchweb201603_1,ppcSwitch_3&btsid=17a9cbd9-0784-4f4a-9528-eb4aff95c245&algo_expid=6dc7e096-8ade-42b2-9735-86a6f14f0638-23&algo_pvid=6dc7e096-8ade-42b2-9735-86a6f14f0638
	Temp sensor (AD22100-KT)	TO-92	for negative temps use AT variant		1	3.4	3.4	3.35	Can be sourced cheaper from different suppliers.	https://www.aliexpress.com/item/AD22100KTZ-AD22100-AD-TO-92-IC-Free-Shipping/1894932812.html?spm=2114.search0104.3.8.5NtGmy&ws_ab_test=searchweb0_0,searchweb201602_2_10152_10065_10151_10068_10193_10194_10308_10304_10137_10060_10302_10155_438_10154_10056_10055_10054_10059_100031_10099_10103_10102_10101_10052_10053_10142_10107_10050_10051_10084_10083_10080_10082_10081_10177_10110_10111_10112_10113_10114_10180_10310_10182_10184_10078_10079_10073_10186_5360020,searchweb201603_1,ppcSwitch_3&btsid=3d72aa81-26bb-44c2-8503-bf1b4d59a4b5&algo_expid=28f9a992-d98a-4ffc-bd7d-80cbea90e5ae-1&algo_pvid=28f9a992-d98a-4ffc-bd7d-80cbea90e5ae
							35.92	13.47

						TOTAL	228.23	93.19	all prices in euros

optional	Off Grid module
	Lead-acid Battery	12V	7,2Ah	Allows the FlyPi to be off-grid	1	19.8	19.8	6	Can be sourced signficantly cheaper from overseas	https://www.reichelt.de/Blei-Vlies-Akkus-12V-Panasonic/LCR-12V-7-2P-1/3/index.html?ACTION=3&LA=5&ARTICLE=26559&GROUPID=4234&artnr=LCR-12V+7%2C2P-1
	Charger	12V	600mA	charger for the lead battery	1	8.2	8.2	2	Can be sourced signifcantly cheaper from overseas	https://www.reichelt.de/Ladegeraete-fuer-Bleiakkus/LADER-AS/3/index.html?ACTION=3&LA=5&ARTICLE=115306&GROUPID=4193&artnr=LADER+AS
							28	8

						Off grid TOTAL	256.23	101.19	all prices in euros

likely already available	Extras
	HDMI to VGA dongle	Optional			1	20.99	20.99	3.7		https://www.aliexpress.com/item/Retail-White-1pcs-1080P-HDMI-to-VGA-Converter-Adapter-Dongle-with-3-5mm-Audio-for-Laptop/32676772603.html?ws_ab_test=searchweb0_0,searchweb201602_2_10152_10065_10151_10068_10193_10084_10308_10083_10080_10082_10081_10110_10303_10137_10111_10302_10060_10176_10112_10113_10155_10114_10154_438_10056_10055_10054_10310_10182_10059_10184_100031_10099_10078_10079_10210_10103_10073_10102_5360020_10052_10053_10142_10107_10050_10051,searchweb201603_1,ppcSwitch_3&btsid=e4a3ec85-8abe-4688-be38-01f0686645b5&algo_expid=a14bf3af-af23-4a86-af64-eff0c30cad90-5&algo_pvid=a14bf3af-af23-4a86-af64-eff0c30cad90
	Red filter (optional)	Roscolux #19			1	17.6	17.6			https://www.rosco.com/uk/german/filters/roscolux.cfm
	Monitor				1	89.95	89.95			https://www.reichelt.de/HANNS-G-HE225DPB/3/index.html?&ACTION=3&LA=446&ARTICLE=130197&artnr=HANNS-G+HE225DPB&SEARCH=pc+monitore
	Keyboard & mouse set	USB			1	15.95	15.95			http://www.reichelt.de/Keyboard-Mouse-Sets/CHERRY-JD-0800DE/3/index.html?&ACTION=3&LA=2&ARTICLE=154150&GROUPID=6267&artnr=CHERRY+JD-0800DE
	Soldering iron				1	4.99	4.99			https://www.reichelt.de/KOLBEN-FP-30/3/index.html?&ACTION=3&LA=446&ARTICLE=89497&artnr=KOLBEN+FP+30&SEARCH=soldering+iron
	Solder	1mm			1	3.2	3.2			https://www.reichelt.de/Solder/LZ-FE-1-0-100/3/index.html?&ACTION=3&LA=2&ARTICLE=30439&GROUPID=557&artnr=LZ+FE+1%2C0+100
	Thermal paste				1	7.99	7.99			https://www.reichelt.de/TG-WLPA-015/3/index.html?&ACTION=3&LA=446&ARTICLE=156447&artnr=TG-WLPA-015&SEARCH=thermal+paste
	Third Hand				1	9.95	9.95			https://www.reichelt.de/Holders-Vices/HALTER-ZD-10MB/3/index.html?&ACTION=3&LA=5700&ARTICLE=145605&GROUPID=4143&artnr=HALTER+ZD-10MB
	Screw driver	3.5mm			1	3.99	3.99			https://www.reichelt.de/Standard-soft-finish/WIHA-302-3-5/3/index.html?&ACTION=3&LA=2&ARTICLE=28685&GROUPID=561&artnr=WIHA+302-3%2C5
										https://www.reichelt.de/Blei-Vlies-Akkus-12V-Panasonic/LCR-12V-7-2P-1/3/index.html?ACTION=3&LA=5&ARTICLE=26559&GROUPID=4234&artnr=LCR-12V+7%2C2P-1

						TOTAL	174.61

						Grand total	402.84